## Sheet1
Product | Brand + model | Link | Comments
Light source | Sarspec LS-W14 Tungsten-Halogen Light Source | https://www.sarspec.com/products/light-sources/tungsten
Fibers | Sarspec Optical Fibers | https://www.sarspec.com/store/p/optical-fibers | I am unsure about the exact specifications (wavelength range, core diameter). We used two 100cm fibers, but shorter fibers would be more convenient.
Motorized mount | Thorlabs K10CR2/M Motorized Rotation Mount | https://www.thorlabs.com/item/K10CR2_M
Linear polarizer | Thorlabs WP25M-UB1 Mounted Wire Grid Polarizer | https://www.thorlabs.com/item/WP25M-UB1?aID=82b8f769d23edb5df1b9a876879e037c&aC=2
Fresnel rhomb | Thorlabs FR600QM Mounted Quarter-Wave Fresnel Rhomb Retarder | https://www.thorlabs.com/item/FR600QM?aID=6370abdd5eea46aaf2b5422b807dee97&aC=2
Collimators | BWTEK CLA-SMA Collimating Lens Assembly | https://m-oem.myshopify.com/products/collimating-lens-assembly-br-cla-sma | I am not sure if this is the website where the collimators where ordered from.
CCD photospectrometer | Spectral Products SM440 Handheld CCD Spectrometer | https://www.spectralproducts.com/SM240_440 | This was an old photospectrometer that the lab already had. Designing software for this spectrometer was challenging becuase it lacked documentation, but I have a working program now.
Breadboard | Thorlabs Solid Aluminum Optical Breadboards | https://www.thorlabs.com/solid-aluminum-optical-breadboards?aID=e2f8ffe1c910d01fe29ac1eeca706d5c&aC=2&aE=1&aN=1&tabName=Overview
Fresnel rhomb mount | Thorlabs LMR1/M Lens Mount with Retaining Ring | https://www.thorlabs.com/item/LMR1_M?aID=360e756541fa952e6a85bb99a7f4f247&aC=2 | Was already in the lab
Retaining rings | Thorlabs SM1RR Retaining Ring | https://www.thorlabs.com/item/SM1RR | Was already in the lab
Optical post | Thorlabs TR30/M Optical Post | https://www.thorlabs.com/item/TR30_M?aID=8e9e7e1c5f374476b27a6275a6b0f033&aC=2 | Was already in the lab, unsure about exact height
Optical post mounting base | Thorlabs BA1/M Mounting Base | https://www.thorlabs.com/item/BA1_M | Was already in the lab